## Sheet1
WORKSHEET-1
Task: | Diameter measurements using optical microscopy
Material: | Nextel 610 (ceramic fibres)
Sample no. | Single image, multiple measurements | Multiple images
Fibre-1 | 13 | 12.4
| 12.4 | 12.4
| 12.2 | 11.9
12.4
| Avg: | Avg:
| 12.5 | 12.2333
Fibre-2 | 12.1 | 12
| 12.6 | 12.3
| 11.2 | 11.5
10.9
| Avg: | Avg:
| 11.7 | 11.9333
Fibre-3 | 12.7 | 12.5
| 12.9 | 12
| 13 | 12.1
13.1
| Avg: | Avg:
| 12.925 | 12.2
Q1: | Is the diameter uniform along the fibre?
No, it is not. It is not a straight line.
Q2: | Is it uniform accross different filaments from the same tow? Also use other students' measurements for comparison.
The diameter is not uniform through the same tow.
Q3: | What do you think are some problems associated with this method?
It is operator-bias, the points are choosen by the operator, the method is not precise, and the accurancy of the measurement material is not so good.
⭐ | Try using carbon fibres. What do you think?
For the carbon fibres, as it is black, the frontier is blur and accounting for one third of the diameter inclundind this frontier.

## Sheet2
WORKSHEET-2
Task: | Stress-Strain calculations using Dia-Stron test data (Appendix)
Material: | T700 Carbon fibres
T1: | Calculate stress and strain
T2: | Plot stress-strain curve
T3: | Mark the fibre strength (failure stress)
⭐ | Try calculating Young's modulus of the fibre. How can this be done?
Q: | Compare your fibre strength value with that of other students. What do you observe?

## Appendix
Point | Force | Position | Displacement | Stress | Strain | Diameter
| (N) | (Microns) | (Microns) | (MPa) |  | (µm) | 6.49
1 | 0 | 20027 | 0 | 0 | 0 | (mm)? | 0.00649
2 | 0.0004905 | 20029 | 2 | 14.8272 | 9.9865e-05
3 | 0.001472 | 20030 | 3 | 44.4968 | 0.0001498 | Area (sq.mm)? | 3.3081e-05
4 | 0.003434 | 20032 | 5 | 103.8057 | 0.00024966
5 | 0.002453 | 20033 | 6 | 74.1512 | 0.0002996
6 | 0.001962 | 20035 | 8 | 59.3089 | 0.00039946
7 | 0.002943 | 20036 | 9 | 88.9633 | 0.00044939
8 | 0.003924 | 20037 | 10 | 118.6178 | 0.00049933
9 | 0.002943 | 20039 | 12 | 88.9633 | 0.00059919
10 | 0.003434 | 20041 | 14 | 103.8057 | 0.00069906
11 | 0.003434 | 20042 | 15 | 103.8057 | 0.00074899
12 | 0.005396 | 20043 | 16 | 163.1145 | 0.00079892
13 | 0.006867 | 20045 | 18 | 207.5811 | 0.00089879
14 | 0.005886 | 20046 | 19 | 177.9266 | 0.00094872
15 | 0.004905 | 20048 | 21 | 148.2722 | 0.0010486
16 | 0.006377 | 20049 | 22 | 192.769 | 0.0010985
17 | 0.004415 | 20051 | 24 | 133.4601 | 0.0011984
18 | 0.004905 | 20052 | 25 | 148.2722 | 0.0012483
19 | 0.005396 | 20054 | 27 | 163.1145 | 0.0013482
20 | 0.005886 | 20055 | 28 | 177.9266 | 0.0013981
21 | 0.006377 | 20057 | 30 | 192.769 | 0.001498 | E?
22 | 0.004415 | 20058 | 31 | 133.4601 | 0.0015479
23 | 0.006867 | 20060 | 33 | 207.5811 | 0.0016478
24 | 0.005396 | 20061 | 34 | 163.1145 | 0.0016977
25 | 0.005396 | 20063 | 36 | 163.1145 | 0.0017976
26 | 0.004905 | 20064 | 37 | 148.2722 | 0.0018475
27 | 0.006377 | 20066 | 39 | 192.769 | 0.0019474
28 | 0.007358 | 20067 | 40 | 222.4234 | 0.0019973
29 | 0.009811 | 20069 | 42 | 296.5746 | 0.0020972
30 | 0.00883 | 20070 | 43 | 266.9202 | 0.0021471
31 | 0.008339 | 20072 | 45 | 252.0779 | 0.002247
32 | 0.007849 | 20073 | 46 | 237.2658 | 0.0022969
33 | 0.006867 | 20075 | 48 | 207.5811 | 0.0023968
34 | 0.006867 | 20076 | 49 | 207.5811 | 0.0024467
35 | 0.006377 | 20078 | 51 | 192.769 | 0.0025466
36 | 0.00883 | 20080 | 53 | 266.9202 | 0.0026464
37 | 0.008339 | 20081 | 54 | 252.0779 | 0.0026964
38 | 0.007849 | 20083 | 56 | 237.2658 | 0.0027962
39 | 0.00932 | 20084 | 57 | 281.7323 | 0.0028462
40 | 0.00932 | 20086 | 59 | 281.7323 | 0.002946
41 | 0.01128 | 20087 | 60 | 340.9807 | 0.002996
42 | 0.0103 | 20089 | 62 | 311.3565 | 0.0030958
43 | 0.01177 | 20090 | 63 | 355.7928 | 0.0031458
44 | 0.01226 | 20092 | 65 | 370.6049 | 0.0032456
45 | 0.01079 | 20093 | 66 | 326.1686 | 0.0032956
46 | 0.01275 | 20095 | 68 | 385.417 | 0.0033954
47 | 0.01373 | 20096 | 69 | 415.0412 | 0.0034453
48 | 0.01324 | 20098 | 71 | 400.2291 | 0.0035452
49 | 0.01324 | 20099 | 72 | 400.2291 | 0.0035951
50 | 0.01521 | 20101 | 74 | 459.7799 | 0.003695
51 | 0.0157 | 20102 | 75 | 474.592 | 0.0037449
52 | 0.01668 | 20104 | 77 | 504.2162 | 0.0038448
53 | 0.0157 | 20106 | 79 | 474.592 | 0.0039447
54 | 0.01619 | 20107 | 80 | 489.4041 | 0.0039946
55 | 0.01766 | 20109 | 82 | 533.8404 | 0.0040945
56 | 0.01668 | 20110 | 83 | 504.2162 | 0.0041444
57 | 0.01717 | 20112 | 85 | 519.0283 | 0.0042443
58 | 0.01717 | 20114 | 87 | 519.0283 | 0.0043441
59 | 0.01864 | 20115 | 88 | 563.4646 | 0.0043941
60 | 0.01962 | 20117 | 90 | 593.0888 | 0.0044939
61 | 0.0206 | 20118 | 91 | 622.713 | 0.0045439
62 | 0.0206 | 20120 | 93 | 622.713 | 0.0046437
63 | 0.02158 | 20121 | 94 | 652.3372 | 0.0046937
64 | 0.02256 | 20123 | 96 | 681.9614 | 0.0047935
65 | 0.02256 | 20125 | 98 | 681.9614 | 0.0048934
66 | 0.02306 | 20126 | 99 | 697.0758 | 0.0049433
67 | 0.02551 | 20128 | 101 | 771.1364 | 0.0050432
68 | 0.02453 | 20129 | 102 | 741.5122 | 0.0050931
69 | 0.02502 | 20131 | 104 | 756.3243 | 0.005193
70 | 0.02502 | 20132 | 105 | 756.3243 | 0.0052429
71 | 0.02698 | 20134 | 107 | 815.5727 | 0.0053428
72 | 0.026 | 20136 | 109 | 785.9485 | 0.0054427
73 | 0.02796 | 20137 | 110 | 845.1969 | 0.0054926
74 | 0.02845 | 20139 | 112 | 860.009 | 0.0055925
75 | 0.02747 | 20140 | 113 | 830.3848 | 0.0056424
76 | 0.02894 | 20142 | 115 | 874.8211 | 0.0057422
77 | 0.02992 | 20144 | 117 | 904.4453 | 0.0058421
78 | 0.03041 | 20145 | 118 | 919.2574 | 0.005892
79 | 0.03139 | 20147 | 120 | 948.8816 | 0.0059919
80 | 0.0309 | 20148 | 121 | 934.0695 | 0.0060418
81 | 0.03139 | 20150 | 123 | 948.8816 | 0.0061417
82 | 0.03336 | 20152 | 125 | 1008.4323 | 0.0062416
83 | 0.03483 | 20153 | 126 | 1052.8687 | 0.0062915
84 | 0.03336 | 20155 | 128 | 1008.4323 | 0.0063914
85 | 0.03532 | 20157 | 130 | 1067.6808 | 0.0064912
86 | 0.03385 | 20158 | 131 | 1023.2445 | 0.0065412
87 | 0.03581 | 20160 | 133 | 1082.4929 | 0.006641
88 | 0.03728 | 20161 | 134 | 1126.9292 | 0.006691
89 | 0.03777 | 20163 | 136 | 1141.7413 | 0.0067908
90 | 0.03679 | 20165 | 138 | 1112.1171 | 0.0068907
91 | 0.03777 | 20166 | 139 | 1141.7413 | 0.0069406
92 | 0.03875 | 20168 | 141 | 1171.3655 | 0.0070405
93 | 0.04022 | 20170 | 143 | 1215.8018 | 0.0071404
94 | 0.0412 | 20171 | 144 | 1245.426 | 0.0071903
95 | 0.04022 | 20173 | 146 | 1215.8018 | 0.0072902
96 | 0.0417 | 20174 | 147 | 1260.5404 | 0.0073401
97 | 0.04366 | 20176 | 149 | 1319.7889 | 0.00744
98 | 0.04317 | 20178 | 151 | 1304.9767 | 0.0075398
99 | 0.04464 | 20179 | 152 | 1349.4131 | 0.0075898
100 | 0.04317 | 20181 | 154 | 1304.9767 | 0.0076896
101 | 0.04513 | 20183 | 156 | 1364.2252 | 0.0077895
102 | 0.04513 | 20184 | 157 | 1364.2252 | 0.0078394
103 | 0.0466 | 20186 | 159 | 1408.6615 | 0.0079393
104 | 0.0466 | 20188 | 161 | 1408.6615 | 0.0080391
105 | 0.04709 | 20189 | 162 | 1423.4736 | 0.0080891
106 | 0.04856 | 20191 | 164 | 1467.9099 | 0.0081889
107 | 0.04856 | 20193 | 166 | 1467.9099 | 0.0082888
108 | 0.04807 | 20194 | 167 | 1453.0978 | 0.0083387
109 | 0.04905 | 20196 | 169 | 1482.722 | 0.0084386
110 | 0.05003 | 20198 | 171 | 1512.3462 | 0.0085385
111 | 0.05102 | 20199 | 172 | 1542.2727 | 0.0085884
112 | 0.05249 | 20201 | 174 | 1586.709 | 0.0086883
113 | 0.05298 | 20203 | 176 | 1601.5212 | 0.0087881
114 | 0.05396 | 20204 | 177 | 1631.1454 | 0.0088381
115 | 0.05494 | 20206 | 179 | 1660.7696 | 0.0089379
116 | 0.05445 | 20208 | 181 | 1645.9575 | 0.0090378
117 | 0.05494 | 20209 | 182 | 1660.7696 | 0.0090877
118 | 0.05543 | 20211 | 184 | 1675.5817 | 0.0091876
119 | 0.05739 | 20213 | 186 | 1734.8301 | 0.0092875
120 | 0.05592 | 20215 | 188 | 1690.3938 | 0.0093873
121 | 0.05837 | 20216 | 189 | 1764.4543 | 0.0094373
122 | 0.05837 | 20218 | 191 | 1764.4543 | 0.0095371
123 | 0.05788 | 20220 | 193 | 1749.6422 | 0.009637
124 | 0.05886 | 20221 | 194 | 1779.2664 | 0.0096869
125 | 0.06083 | 20223 | 196 | 1838.8171 | 0.0097868
126 | 0.06181 | 20225 | 198 | 1868.4413 | 0.0098867
127 | 0.06083 | 20227 | 200 | 1838.8171 | 0.0099865
128 | 0.06279 | 20228 | 201 | 1898.0656 | 0.010036
129 | 0.06377 | 20230 | 203 | 1927.6898 | 0.010136
130 | 0.06377 | 20232 | 205 | 1927.6898 | 0.010236
131 | 0.06524 | 20233 | 206 | 1972.1261 | 0.010286
132 | 0.06475 | 20235 | 208 | 1957.314 | 0.010386
133 | 0.06573 | 20237 | 210 | 1986.9382 | 0.010486
134 | 0.06524 | 20238 | 211 | 1972.1261 | 0.010536
135 | 0.06769 | 20240 | 213 | 2046.1866 | 0.010636
136 | 0.0672 | 20242 | 215 | 2031.3745 | 0.010736
137 | 0.06917 | 20244 | 217 | 2090.9252 | 0.010835
138 | 0.06966 | 20245 | 218 | 2105.7373 | 0.010885
139 | 0.06966 | 20247 | 220 | 2105.7373 | 0.010985
140 | 0.06966 | 20249 | 222 | 2105.7373 | 0.011085
141 | 0.07162 | 20251 | 224 | 2164.9857 | 0.011185
142 | 0.07211 | 20252 | 225 | 2179.7979 | 0.011235
143 | 0.07113 | 20254 | 227 | 2150.1736 | 0.011335
144 | 0.07358 | 20256 | 229 | 2224.2342 | 0.011435
145 | 0.07603 | 20258 | 231 | 2298.2947 | 0.011534
146 | 0.07505 | 20259 | 232 | 2268.6705 | 0.011584
147 | 0.07603 | 20261 | 234 | 2298.2947 | 0.011684
148 | 0.07652 | 20263 | 236 | 2313.1068 | 0.011784
149 | 0.07799 | 20264 | 237 | 2357.5431 | 0.011834
150 | 0.07652 | 20266 | 239 | 2313.1068 | 0.011934
151 | 0.07898 | 20268 | 241 | 2387.4696 | 0.012034
152 | 0.07947 | 20270 | 243 | 2402.2817 | 0.012134
153 | 0.08045 | 20271 | 244 | 2431.9059 | 0.012184
154 | 0.07947 | 20273 | 246 | 2402.2817 | 0.012283
155 | 0.08094 | 20275 | 248 | 2446.718 | 0.012383
156 | 0.08192 | 20277 | 250 | 2476.3423 | 0.012483
157 | 0.08388 | 20279 | 252 | 2535.5907 | 0.012583
158 | 0.08192 | 20280 | 253 | 2476.3423 | 0.012633
159 | 0.08437 | 20282 | 255 | 2550.4028 | 0.012733
160 | 0.08633 | 20284 | 257 | 2609.6512 | 0.012833
161 | 0.08633 | 20286 | 259 | 2609.6512 | 0.012933
162 | 0.08535 | 20287 | 260 | 2580.027 | 0.012982
163 | 0.08682 | 20289 | 262 | 2624.4633 | 0.013082
164 | 0.08633 | 20291 | 264 | 2609.6512 | 0.013182
165 | 0.08928 | 20293 | 266 | 2698.8261 | 0.013282
166 | 0.08879 | 20295 | 268 | 2684.014 | 0.013382
167 | 0.09026 | 20296 | 269 | 2728.4503 | 0.013432
168 | 0.09075 | 20298 | 271 | 2743.2624 | 0.013532
169 | 0.09075 | 20300 | 273 | 2743.2624 | 0.013632
170 | 0.09222 | 20302 | 275 | 2787.6988 | 0.013731
171 | 0.0932 | 20303 | 276 | 2817.323 | 0.013781
172 | 0.09369 | 20305 | 278 | 2832.1351 | 0.013881
173 | 0.09271 | 20307 | 280 | 2802.5109 | 0.013981
174 | 0.09614 | 20309 | 282 | 2906.1956 | 0.014081
175 | 0.09614 | 20311 | 284 | 2906.1956 | 0.014181
176 | 0.09811 | 20312 | 285 | 2965.7463 | 0.014231
177 | 0.09958 | 20314 | 287 | 3010.1826 | 0.014331
178 | 0.09811 | 20316 | 289 | 2965.7463 | 0.014431
179 | 0.09909 | 20318 | 291 | 2995.3705 | 0.01453
180 | 0.1001 | 20320 | 293 | 3025.9016 | 0.01463
181 | 0.1001 | 20322 | 295 | 3025.9016 | 0.01473
182 | 0.1001 | 20323 | 296 | 3025.9016 | 0.01478
183 | 0.104 | 20325 | 298 | 3143.7939 | 0.01488
184 | 0.1025 | 20327 | 300 | 3098.4507 | 0.01498
185 | 0.104 | 20329 | 302 | 3143.7939 | 0.01508
186 | 0.1055 | 20331 | 304 | 3189.1371 | 0.01518
187 | 0.1045 | 20332 | 305 | 3158.9083 | 0.015229
188 | 0.104 | 20334 | 307 | 3143.7939 | 0.015329
189 | 0.1064 | 20336 | 309 | 3216.343 | 0.015429
190 | 0.1079 | 20338 | 311 | 3261.6862 | 0.015529
191 | 0.1074 | 20340 | 313 | 3246.5718 | 0.015629
192 | 0.1094 | 20342 | 315 | 3307.0293 | 0.015729
193 | 0.1094 | 20343 | 316 | 3307.0293 | 0.015779
194 | 0.1109 | 20345 | 318 | 3352.3725 | 0.015879
195 | 0.1123 | 20347 | 320 | 3394.6928 | 0.015978
196 | 0.1114 | 20349 | 322 | 3367.4869 | 0.016078
197 | 0.1133 | 20351 | 324 | 3424.9216 | 0.016178
198 | 0.1123 | 20353 | 326 | 3394.6928 | 0.016278
199 | 0.1153 | 20355 | 328 | 3485.3792 | 0.016378
200 | 0.1148 | 20356 | 329 | 3470.2648 | 0.016428
201 | 0.1158 | 20358 | 331 | 3500.4936 | 0.016528
202 | 0.1182 | 20360 | 333 | 3573.0427 | 0.016628
203 | 0.1163 | 20362 | 335 | 3515.608 | 0.016727
204 | 0.1187 | 20364 | 337 | 3588.1571 | 0.016827
205 | 0.1192 | 20366 | 339 | 3603.2714 | 0.016927
206 | 0.1192 | 20368 | 341 | 3603.2714 | 0.017027
207 | 0.1192 | 20369 | 342 | 3603.2714 | 0.017077
208 | 0.1221 | 20371 | 344 | 3690.9349 | 0.017177
209 | 0.1231 | 20373 | 346 | 3721.1637 | 0.017277
210 | 0.1236 | 20375 | 348 | 3736.2781 | 0.017377
211 | 0.1241 | 20377 | 350 | 3751.3925 | 0.017476
212 | 0.1226 | 20379 | 352 | 3706.0493 | 0.017576
213 | 0.1246 | 20381 | 354 | 3766.5069 | 0.017676
214 | 0.1246 | 20383 | 356 | 3766.5069 | 0.017776
215 | 0.127 | 20384 | 357 | 3839.056 | 0.017826
216 | 0.127 | 20386 | 359 | 3839.056 | 0.017926
217 | 0.1295 | 20388 | 361 | 3914.628 | 0.018026
218 | 0.131 | 20390 | 363 | 3959.9711 | 0.018126
219 | 0.131 | 20392 | 365 | 3959.9711 | 0.018225
220 | 0.13 | 20394 | 367 | 3929.7424 | 0.018325
221 | 0.1329 | 20396 | 369 | 4017.4058 | 0.018425
222 | 0.1324 | 20398 | 371 | 4002.2914 | 0.018525
223 | 0.1339 | 20400 | 373 | 4047.6346 | 0.018625
224 | 0.1334 | 20402 | 375 | 4032.5202 | 0.018725
225 | 0.1354 | 20403 | 376 | 4092.9778 | 0.018775
226 | 0.1364 | 20405 | 378 | 4123.2066 | 0.018875
227 | 0.1369 | 20407 | 380 | 4138.321 | 0.018974
228 | 0.1378 | 20409 | 382 | 4165.5269 | 0.019074
229 | 0.1388 | 20411 | 384 | 4195.7557 | 0.019174
230 | 0.1388 | 20413 | 386 | 4195.7557 | 0.019274
231 | 0.1408 | 20415 | 388 | 4256.2133 | 0.019374
232 | 0.1413 | 20417 | 390 | 4271.3276 | 0.019474
233 | 0.1418 | 20419 | 392 | 4286.442 | 0.019574
234 | 0.1427 | 20421 | 394 | 4313.648 | 0.019673
235 | 0.1418 | 20423 | 396 | 4286.442 | 0.019773
236 | 0.1432 | 20424 | 397 | 4328.7623 | 0.019823
237 | 0.1457 | 20426 | 399 | 4404.3343 | 0.019923
238 | 0.1447 | 20428 | 401 | 4374.1055 | 0.020023
239 | 0.1472 | 20430 | 403 | 4449.6775 | 0.020123
240 | 0.1477 | 20432 | 405 | 4464.7919 | 0.020223
241 | 0.1486 | 20434 | 407 | 4491.9978 | 0.020323
242 | 0.1501 | 20436 | 409 | 4537.341 | 0.020422
243 | 0.1506 | 20438 | 411 | 4552.4554 | 0.020522
244 | 0.1506 | 20440 | 413 | 4552.4554 | 0.020622
245 | 0.1516 | 20442 | 415 | 4582.6842 | 0.020722
246 | 0.1521 | 20444 | 417 | 4597.7986 | 0.020822
247 | 0.153 | 20446 | 419 | 4625.0045 | 0.020922
248 | 0.1535 | 20448 | 421 | 4640.1189 | 0.021022
249 | 0.1555 | 20450 | 423 | 4700.5764 | 0.021121
250 | 0.156 | 20452 | 425 | 4715.6908 | 0.021221
251 | 0.1555 | 20453 | 426 | 4700.5764 | 0.021271
252 | 0.1575 | 20455 | 428 | 4761.034 | 0.021371
253 | 0.158 | 20457 | 430 | 4776.1484 | 0.021471
254 | 0.1584 | 20459 | 432 | 4788.2399 | 0.021571
255 | 0.1599 | 20461 | 434 | 4833.5831 | 0.021671
256 | 0.1624 | 20463 | 436 | 4909.1551 | 0.021771
257 | 0.1609 | 20465 | 438 | 4863.8119 | 0.02187
258 | 0.1633 | 20467 | 440 | 4936.361 | 0.02197
259 | 0.1638 | 20469 | 442 | 4951.4754 | 0.02207
260 | 0.1643 | 20471 | 444 | 4966.5898 | 0.02217
261 | 0.1648 | 20473 | 446 | 4981.7042 | 0.02227
262 | 0.1629 | 20475 | 448 | 4924.2695 | 0.02237
263 | 0.1668 | 20477 | 450 | 5042.1617 | 0.02247
264 | 0.1653 | 20479 | 452 | 4996.8185 | 0.02257
265 | 0.1687 | 20481 | 454 | 5099.5964 | 0.022669
266 | 0.1697 | 20483 | 456 | 5129.8252 | 0.022769
267 | 0.1692 | 20485 | 458 | 5114.7108 | 0.022869
268 | 0.1712 | 20487 | 460 | 5175.1684 | 0.022969
269 | 0.1722 | 20489 | 462 | 5205.3972 | 0.023069
270 | 0.1717 | 20491 | 464 | 5190.2828 | 0.023169
271 | 0.1732 | 20493 | 466 | 5235.626 | 0.023269
272 | 0.1736 | 20491 | 464 | 5247.7175 | 0.023169
273 | 0.1766 | 20500 | 473 | 5338.4038 | 0.023618
274 | 0.1746 | 20501 | 474 | 5277.9463 | 0.023668
275 | 0.1786 | 20500 | 473 | 5398.8614 | 0.023618
276 | 0.1766 | 20502 | 475 | 5338.4038 | 0.023718
277 | 0.1771 | 20506 | 479 | 5353.5182 | 0.023918
278 | 0.1786 | 20507 | 480 | 5398.8614 | 0.023968
279 | 0.01472 | 20508 | 481 | 444.9677 | 0.024018

## Sheet3
WORKSHEET-3
Task: | Fibre strength variability study
Material: | T700 Carbon fibres
T1: | Calculate fibre strength for below population of single filaments using the given diameter and failure load data
Sample no. | Diameter (µm) | CS Area (sq.µm) | CS Area (sq.mm) | Failure Load (N) | Fibre Strength (MPa)
1 | 6.31 | 31.1 | 3.11e-05 | 0.0829 | 2665.5949
2 | 6.61 | 34.1 | 3.41e-05 | 0.254 | 7448.6804
3 | 6.45 | 32.7 | 3.27e-05 | 0.108 | 3302.7523
4 | 6.43 | 32.6 | 3.26e-05 | 0.128 | 3926.3804
5 | 6.6 | 34.2 | 3.42e-05 | 0.132 | 3859.6491
6 | 6.5 | 33.2 | 3.32e-05 | 0.16 | 4819.2771
7 | 6.78 | 36.1 | 3.61e-05 | 0.202 | 5595.5679
8 | 6.95 | 37.8 | 3.78e-05 | 0.126 | 3333.3333
9 | 7.74 | 39.8 | 3.98e-05 | 0.147 | 3693.4673
10 | 6.78 | 36.4 | 3.64e-05 | 0.157 | 4313.1868
11 | 6.61 | 34.4 | 3.44e-05 | 0.138 | 4011.6279
12 | 6.74 | 35.5 | 3.55e-05 | 0.104 | 2929.5775
13 | 6.85 | 36.7 | 3.67e-05 | 0.159 | 4332.4251
14 | 7.01 | 38.6 | 3.86e-05 | 0.201 | 5207.2539
15 | 7.22 | 40.8 | 4.08e-05 | 0.148 | 3627.451
16 | 7.03 | 39 | 3.9e-05 | 0.133 | 3410.2564
17 | 6.46 | 32.8 | 3.28e-05 | 0.186 | 5670.7317
18 | 6.83 | 36.8 | 3.68e-05 | 0.156 | 4239.1304
19 | 6.75 | 35.8 | 3.58e-05 | 0.127 | 3547.486
20 | 6.41 | 32.2 | 3.22e-05 | 0.173 | 5372.6708
21* |  |  |  |  | 5338.4038
* | Value you obtained in the previous task (Sheet-2)
|  |  |  | Max: | 7448.6804
|  |  |  | Min: | 2665.5949
|  |  |  | Avg: | 4316.424
Q1: | Do all the fibres have the same strength?
Q2: | What value would you report as the T700 fibre strength? Why? Highest? Lowest? Average?
Highest and lowest are not correct bc there are just very few of them. It would not be representative. And same for average, as the incertitude is high, it is insuffisant.
Q3: | Why are some fibres weaker than others?
There are defects in the fiber during the fabrication and as the fibers are thin, the production is massive, they can't give an unique strengh. Also the diameter affects the strenght.
⭐ | Fibre strength is represented as a distribution rather than asingle value!

## Summary
SUMMARY
- | What are composites and why are they popular?
High strength, light weight
- | Why is single fibre testing important?
Fibres -> Composites
- | Diameter measurement techniques - optical microscopy and LDS
Variability in diameter measurements using optical microscopy
Working principle of LDS, advantages, and why this might not be accurate for some fibres
- | SFTT – Dia-Stron, sample preparation, testing procedure, post-processing
Sample preparation; advantages of Dia-Stron cassettes compared to paper card method
Testing procedure; advantages of automated systems like Dia-Stron
Post-processing - - Plotting stress-strain curves from load-displacement data - Calculating fibre strength and modulus
- | Variability in fibre strength values – Cannot be expressed as a single value!